## generators
GENERATOR_ID | GENERATOR_NAME | PROJECT_NAME | TYPE | CAPACITY_MW | STATUS | STATE | COUNTY | ISO | EIA_PLANT_ID | QUEUE_ID | EIA_GENERATOR_ID | FIRST_POWER_DATE | ASSUMED_RETIREMENT_DATE | REPORTED_RETIREMENT_DATE | POINT_OF_INTERCONNECTION | TRANSMISSION_OWNER | Owner | SOURCE
or:generator:444417 | Elora BESS | Elora BESS | Storage | 211 | Studies Undergoing | ON | Wellington | IESO |  | 776 |  | 2027-01-01 |  |  |  | IESO | Aypa Power | https://elora.aypa.com/ (or Wellington County Planning: https://www.wellington.ca/business-development/planning-development/development-applications/active-applications/elora-bess
or:generator:444432 | Hedley BESS | Hedley BESS | Storage | 211 | Studies Undergoing | ON | Haldimand-norfolk | IESO |  | 777 |  | 2027-01-01 |  |  |  | IESO | Aypa Power (via Hedley BESS LP) | https://hedley.aypa.com/
or:generator:444441 | Oxford BESS | Oxford BESS | Storage | 125 | Studies Undergoing | ON | Oxford | IESO |  | 780 |  | 2026-10-01 |  |  |  | IESO | Boralex Inc. | https://www.boralex.com/en/projects-and-sites/storage-oxford/
or:generator:444420 | Fitzroy BESS | Fitzroy BESS | Storage | 250 | Studies Undergoing | ON | Fitzroy Harbour | IESO |  | 799 |  | 2027-06-01 |  |  |  | IESO | Brookfield Renewable | https://evolugen.com/wp-content/uploads/2023/11/Fitzroy-BESS_Community-and-Indigenous-Engagement-Plan-Posted-November-14-2023.pdf or IESO Results (https://www.ieso.ca/-/media/Files/IESO/Document-Library/long-term-rfp/LT1-RFP-results-table-20241218.pdf)
or:generator:260627 | Riverstart Solar Park II | Riverstart Solar Park II | Solar | 125 | Studies Undergoing | IN | Randolph | PJM |  | AE2-220 |  | 2027-02-01 | 2057-10-31 |  | Losantville 345 kV | AEP | EDP Renewables | https://www.edpr.com/north-america/our-projects
or:generator:258440 | Fortis Rimbey 297S DER Gas | Fortis Rimbey 297S DER Gas | Natural Gas | 7.25 | In Construction | AB | Bluffton | AESO | WLC1 | P2515 |  | 2025-10-01 | 2072-12-21 |  |  | AltaLink | FortisAlberta | https://service.fortisalberta.com/projects/find
or:generator:439819 | Dawn Harvest Storage | Dawn Harvest | Storage | 50 | In Construction | WI | Rock | MISO |  | J1460 |  | 2026-12-01 |  |  | Sunrise 138 kV Substation | American Transmission Co | Invenergy | https://invenergy.com/projects/our-projects
or:generator:262710 | NC3 Ahoskie South Solar Project | NC3 Ahoskie South Solar Project | Solar | 5 | In Construction | NC | Hertford | PJM |  | AG1-037 |  | 2027-08-01 | 2062-08-29 |  | Ahoskie 34.5 kV | Dominion Energy | NextEra Energy Resources | https://www.nexteraenergyresources.com/
or:generator:300676 | Courthouse Solar: CHSL | Courthouse Solar | Solar | 167 | In Construction | VA | Charlotte | PJM | 66312 | AF2-222 - moved to TC1 | CHSL | 2025-01-01 | 2061-07-01 |  | Madisonville DP-Twitty's Creek 115 kV | Dominion Energy | NOVI Energy | https://www.novienergy.com/project/courthouse-solar-pv-development/ (or Charlotte County documents e.g., https://cms8.revize.com/revize/charlottecountyva/Document_Center/Departments/Planning%20&%20Zoning/Agenda%20&%20Minutes/2020/Packets/2020-10%20Packet.pdf
or:generator:440160 | Erin MPC Solar Battery | Erin MPC Solar Battery | Storage | 43 | Studies Undergoing | AB | Kitscoty | AESO |  | P2838 |  | 2028-06-01 |  |  |  |  | Project Cancelled. Ownership by Atura Power | https://www.aeso.ca/assets/Uploads/project-reporting/January-2025-Project-List.xlsx https://www.aeso.ca/assets/Uploads/project-reporting/
or:generator:262036 | Railroad Avenue Energy Storage | Railroad Avenue Energy Storage | Storage | 10 | Suspended | NJ | Bergen | PJM |  | AF2-416 |  | 2026-06-01 |  |  | Bergen 26 kV | Public Service Elec & Gas Co | Project Suspended in PJM queue. Ownership by Summit Ridge Energy was not verified. | https://www.interconnection.fyi/project/pjm-af2-41
or:generator:260495 | Evergreen Solar | Evergreen Solar | Solar | 20 | In Construction | PA | Elk | PJM |  | AF2-295 |  | 2027-07-01 | 2062-07-30 |  | Wilcox-Paper City 46 kV | Allegheny Power | Project Withdrawn from PJM queue. Interconnecting Entity listed as EL-Evergreen LLC. A link between EL-Evergreen LLC and Leeward was not established in the searches. | https://www.interconnection.fyi/project/pjm-af2-295
or:generator:262234 | CO-Frosty Valley 2: PV | CO-Frosty Valley 2 | Solar | 20 | Studies Undergoing | MD | Anne Arundel | PJM |  | AF2-434 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | Soltage LLC | https://www.pjm.com/planning/services-requests/interconnection-queues.aspx
or:generator:262964 | CO-Frosty Valley: PV | CO-Frosty Valley | Solar | 20 | Studies Undergoing | PA | Columbia | PJM |  | AF2-433 |  | 2027-02-01 | 2057-06-01 |  | Columbia-Geisinger Tap #1 69 kV | Pennsylvania Power & Light | Soltage LLC | https://www.pjm.com/planning/services-requests/interconnection-queues.aspx
or:generator:262870 | Momentum Wind | Momentum Wind | Wind | 134.6667 | Studies Undergoing | DE | Sussex | PJM |  | AG2-348 |  | 2029-08-01 | 2050-08-31 |  | Indian River 230 kV II | Delmarva Power & Light Company | US Wind | https://uswindinc.com/momentumwind/ (or Offshore Wind Power Hub: https://offshorewindpowerhub.org/project/momentum-wind
or:generator:228545 | Monroe Power: BA | Monroe Power | Storage | 160 | IA Executed | IN | LaPorte | MISO |  | J1355 |  | 2026-05-01 |  |  | Stillwell 138kV Subtation | NORTHERN INDIANA PUBLIC SERVICE COMPANY LLC | There is no Direct Ownership Found
or:generator:437172 | St. Albert Solar | St. Albert Solar | Solar | 200 | Studies Undergoing | AB | Sturgeon | AESO |  | P2777 |  | 2028-02-01 | 2060-12-01 |  |  |  | There is no Direct Ownership Found
or:generator:231853 | Chariot Solar II | Chariot Solar | Solar | 80 | IA Executed | IL | Saline | MISO |  | J1209 |  | 2026-07-01 | 2058-11-04 |  | Muddy - Crab Orchard 138kV Line | AMEREN ILLINOIS | There is no Direct Ownership Found
or:generator:229747 | Moonshine Solar | Moonshine Solar | Solar | 150 | IA Executed | IL | Clark | MISO |  | J1382 |  | 2026-07-01 | 2060-05-31 |  | Hutsonville - Neoga 138 kV Line tap | AMEREN ILLINOIS | There is no Direct Ownership Found
or:generator:437280 | Rich Valley Solar | Rich Valley Solar | Solar | 200 | Studies Undergoing | AB | Lac Ste. Anne | AESO |  | P2778 |  | 2028-02-01 | 2060-12-01 |  |  |  | There is no Direct Ownership Found
or:generator:260623 | Turkey Solar | Turkey Solar | Solar | 14.04 | In Construction | VA | Louisa | PJM |  | AG1-469 |  | 2027-08-01 | 2062-08-29 |  | Gordonsville 34.5 kV | Dominion Energy | There is no Direct Ownership Found
or:generator:261283 | Gibson Solar I | Gibson Solar I | Solar | 100 | Suspended | VA | King George | PJM |  | AF1-114 |  | 2027-05-01 | 2062-05-01 |  | Oak Grove-Dahlgren 230 kV | Dominion Energy | There is no Direct Ownership Found
or:generator:229724 | Wold Creek Solar | Wold Creek Solar | Solar | 100 | IA Executed | MO | Montgomery | MISO |  | J1352 |  | 2026-07-01 | 2059-12-01 |  | Spencer Creek - Montgomery 345kV Line | Ameren | There is no Direct Ownership Found
or:generator:436193 | Eagle Butte Wind | Eagle Butte Wind | Wind | 200 | Studies Undergoing | AB | Cypress | AESO |  | P2745 |  | 2028-01-01 | 2051-03-16 |  |  |  | There is no Direct Ownership Found
or:generator:260979 | CG Fulton County | CG Fulton County | Solar | 199 | Studies Undergoing | OH | Fulton | PJM |  | AF1-206 |  | 2028-05-01 | 2063-05-31 |  | East Fayette 138 kV | American Transmission Systems Inc | There is no Direct Ownership Found